## costs_by_module_type_operation
Project ID with serial | Number of turbines | Turbine rating MW | Module | Operation ID | Type of cost | Cost per turbine | Cost per project | USD/kW per project
Vestas_V47_public | 1 | 0.66 | FoundationCost | Foundation | Equipment rental | 1484.2968 | 1484.2968 | 2.2489
Vestas_V47_public | 1 | 0.66 | FoundationCost | Foundation | Labor | 27108.5816 | 27108.5816 | 41.0736
Vestas_V47_public | 1 | 0.66 | FoundationCost | Foundation | Materials | 20693.0846 | 20693.0846 | 31.3532
Vestas_V47_public | 1 | 0.66 | FoundationCost | Foundation | Mobilization | 13071.8865 | 13071.8865 | 19.8059
Vestas_V47_public | 1 | 0.66 | SitePreparationCost | Roads | Materials | 5345.0685 | 5345.0685 | 8.0986
Vestas_V47_public | 1 | 0.66 | SitePreparationCost | Roads | Equipment rental | 3887.6411 | 3887.6411 | 5.8904
Vestas_V47_public | 1 | 0.66 | SitePreparationCost | Roads | Labor | 265935.4733 | 265935.4733 | 402.9325
Vestas_V47_public | 1 | 0.66 | SitePreparationCost | Roads | Other | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | SitePreparationCost | Roads | Mobilization | 72981.5759 | 72981.5759 | 110.5781
Vestas_V47_public | 1 | 0.66 | SubstationCost | Substation | Other | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | GridConnectionCost | Transmission and Distribution | Other | 196043.6543 | 196043.6543 | 297.0358
Vestas_V47_public | 1 | 0.66 | CollectionCost | Collection | Equipment rental | 855.643 | 855.643 | 1.2964
Vestas_V47_public | 1 | 0.66 | CollectionCost | Collection | Labor | 3390.1934 | 3390.1934 | 5.1367
Vestas_V47_public | 1 | 0.66 | CollectionCost | Collection | Materials | 2037.4016 | 2037.4016 | 3.087
Vestas_V47_public | 1 | 0.66 | CollectionCost | Collection | Mobilization | 1666.474 | 1666.474 | 2.525
Vestas_V47_public | 1 | 0.66 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | DevelopmentCost | Development | Labor | 150000 | 150000 | 227.2727
Vestas_V47_public | 1 | 0.66 | DevelopmentCost | Development | Materials | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | DevelopmentCost | Development | Other | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Equipment rental | 4642.2457 | 4642.2457 | 7.0337
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Fuel | 240 | 240 | 0.36364
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Labor | 22935.2237 | 22935.2237 | 34.7503
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Mobilization | 208000 | 208000 | 315.1515
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Other | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | ErectionCost | Erection | Materials | 0 | 0 | 0
Vestas_V47_public | 1 | 0.66 | ManagementCost | Management | total_management_cost | 500000 | 500000 | 769.2308
ge15_dist_01 | 1 | 1.5 | FoundationCost | Foundation | Equipment rental | 3975.1829 | 3975.1829 | 2.6501
ge15_dist_01 | 1 | 1.5 | FoundationCost | Foundation | Labor | 73636.3048 | 73636.3048 | 49.0909
ge15_dist_01 | 1 | 1.5 | FoundationCost | Foundation | Materials | 59490.6113 | 59490.6113 | 39.6604
ge15_dist_01 | 1 | 1.5 | FoundationCost | Foundation | Mobilization | 23892.1616 | 23892.1616 | 15.9281
ge15_dist_01 | 1 | 1.5 | SitePreparationCost | Roads | Materials | 15817.0393 | 15817.0393 | 10.5447
ge15_dist_01 | 1 | 1.5 | SitePreparationCost | Roads | Equipment rental | 10867.975 | 10867.975 | 7.2453
ge15_dist_01 | 1 | 1.5 | SitePreparationCost | Roads | Labor | 53466.4133 | 53466.4133 | 35.6443
ge15_dist_01 | 1 | 1.5 | SitePreparationCost | Roads | Other | 82648.6 | 82648.6 | 55.0991
ge15_dist_01 | 1 | 1.5 | SitePreparationCost | Roads | Mobilization | 28370.4231 | 28370.4231 | 18.9136
ge15_dist_01 | 1 | 1.5 | SubstationCost | Substation | Other | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | GridConnectionCost | Transmission and Distribution | Other | 371334.1954 | 371334.1954 | 247.5561
ge15_dist_01 | 1 | 1.5 | CollectionCost | Collection | Equipment rental | 2635.3806 | 2635.3806 | 1.7569
ge15_dist_01 | 1 | 1.5 | CollectionCost | Collection | Labor | 9168.8355 | 9168.8355 | 6.1126
ge15_dist_01 | 1 | 1.5 | CollectionCost | Collection | Materials | 6275.1969 | 6275.1969 | 4.1835
ge15_dist_01 | 1 | 1.5 | CollectionCost | Collection | Mobilization | 3150.6174 | 3150.6174 | 2.1004
ge15_dist_01 | 1 | 1.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | DevelopmentCost | Development | Labor | 150000 | 150000 | 100
ge15_dist_01 | 1 | 1.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Equipment rental | 7070.6972 | 7070.6972 | 4.7138
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Fuel | 240 | 240 | 0.16
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Labor | 35349.3227 | 35349.3227 | 23.5662
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Mobilization | 416000 | 416000 | 277.3333
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Other | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
ge15_dist_01 | 1 | 1.5 | ManagementCost | Management | total_management_cost | 1519250 | 1519250 | 1012.8333
ge15_dist_05 | 5 | 1.5 | FoundationCost | Foundation | Equipment rental | 19875.9146 | 19875.9146 | 13.2506
ge15_dist_05 | 5 | 1.5 | FoundationCost | Foundation | Labor | 198920.8706 | 198920.8706 | 132.6139
ge15_dist_05 | 5 | 1.5 | FoundationCost | Foundation | Materials | 297453.0567 | 297453.0567 | 198.302
ge15_dist_05 | 5 | 1.5 | FoundationCost | Foundation | Mobilization | 89964.5206 | 89964.5206 | 59.9763
ge15_dist_05 | 5 | 1.5 | SitePreparationCost | Roads | Materials | 79085.1967 | 79085.1967 | 52.7235
ge15_dist_05 | 5 | 1.5 | SitePreparationCost | Roads | Equipment rental | 54339.8751 | 54339.8751 | 36.2266
ge15_dist_05 | 5 | 1.5 | SitePreparationCost | Roads | Labor | 86280.9729 | 86280.9729 | 57.5206
ge15_dist_05 | 5 | 1.5 | SitePreparationCost | Roads | Other | 160843 | 160843 | 107.2287
ge15_dist_05 | 5 | 1.5 | SitePreparationCost | Roads | Mobilization | 66316.5576 | 66316.5576 | 44.211
ge15_dist_05 | 5 | 1.5 | SubstationCost | Substation | Other | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | GridConnectionCost | Transmission and Distribution | Other | 1856670.9768 | 1856670.9768 | 1237.7807
ge15_dist_05 | 5 | 1.5 | CollectionCost | Collection | Equipment rental | 2635.3806 | 13176.9029 | 1.7569
ge15_dist_05 | 5 | 1.5 | CollectionCost | Collection | Labor | 8679.2355 | 43396.1776 | 5.7862
ge15_dist_05 | 5 | 1.5 | CollectionCost | Collection | Materials | 6275.1969 | 31375.9843 | 4.1835
ge15_dist_05 | 5 | 1.5 | CollectionCost | Collection | Mobilization | 3065.297 | 15326.485 | 2.0435
ge15_dist_05 | 5 | 1.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | DevelopmentCost | Development | Labor | 150000 | 150000 | 100
ge15_dist_05 | 5 | 1.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Equipment rental | 35353.4862 | 35353.4862 | 23.569
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Fuel | 1605 | 1605 | 1.07
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Labor | 182218.6134 | 182218.6134 | 121.4791
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Mobilization | 416000 | 416000 | 277.3333
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Other | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
ge15_dist_05 | 5 | 1.5 | ManagementCost | Management | total_management_cost | 1519250 | 1519250 | 1012.8333
ge15_dist_10 | 10 | 1.5 | FoundationCost | Foundation | Equipment rental | 39751.8293 | 39751.8293 | 26.5012
ge15_dist_10 | 10 | 1.5 | FoundationCost | Foundation | Labor | 307821.7413 | 307821.7413 | 205.2145
ge15_dist_10 | 10 | 1.5 | FoundationCost | Foundation | Materials | 594906.1134 | 594906.1134 | 396.6041
ge15_dist_10 | 10 | 1.5 | FoundationCost | Foundation | Mobilization | 164241.6638 | 164241.6638 | 109.4944
ge15_dist_10 | 10 | 1.5 | SitePreparationCost | Roads | Materials | 158170.3935 | 158170.3935 | 105.4469
ge15_dist_10 | 10 | 1.5 | SitePreparationCost | Roads | Equipment rental | 108679.7502 | 108679.7502 | 72.4532
ge15_dist_10 | 10 | 1.5 | SitePreparationCost | Roads | Labor | 112069.9458 | 112069.9458 | 74.7133
ge15_dist_10 | 10 | 1.5 | SitePreparationCost | Roads | Other | 258586 | 258586 | 172.3907
ge15_dist_10 | 10 | 1.5 | SitePreparationCost | Roads | Mobilization | 111095.2975 | 111095.2975 | 74.0635
ge15_dist_10 | 10 | 1.5 | SubstationCost | Substation | Other | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | GridConnectionCost | Transmission and Distribution | Other | 3713341.9537 | 3713341.9537 | 2475.5613
ge15_dist_10 | 10 | 1.5 | CollectionCost | Collection | Equipment rental | 2635.3806 | 26353.8058 | 1.7569
ge15_dist_10 | 10 | 1.5 | CollectionCost | Collection | Labor | 8618.0355 | 86180.3552 | 5.7454
ge15_dist_10 | 10 | 1.5 | CollectionCost | Collection | Materials | 6275.1969 | 62751.9685 | 4.1835
ge15_dist_10 | 10 | 1.5 | CollectionCost | Collection | Mobilization | 3054.632 | 30546.3195 | 2.0364
ge15_dist_10 | 10 | 1.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | DevelopmentCost | Development | Labor | 150000 | 150000 | 100
ge15_dist_10 | 10 | 1.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Equipment rental | 70706.9725 | 70706.9725 | 47.138
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Fuel | 3300 | 3300 | 2.2
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Labor | 365013.2268 | 365013.2268 | 243.3422
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Mobilization | 416000 | 416000 | 277.3333
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Other | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
ge15_dist_10 | 10 | 1.5 | ManagementCost | Management | total_management_cost | 1519250 | 1519250 | 1012.8333
foundation_validation_ge15 | 100 | 1.5 | FoundationCost | Foundation | Equipment rental | 3075.5357 | 307553.5698 | 2.0504
foundation_validation_ge15 | 100 | 1.5 | FoundationCost | Foundation | Labor | 36776.5999 | 3677659.9867 | 24.5177
foundation_validation_ge15 | 100 | 1.5 | FoundationCost | Foundation | Materials | 55730.3122 | 5573031.2161 | 37.1535
foundation_validation_ge15 | 100 | 1.5 | FoundationCost | Foundation | Mobilization | 9558.2448 | 955824.4773 | 6.3722
foundation_validation_ge15 | 100 | 1.5 | SitePreparationCost | Roads | Materials | 7977.5153 | 797751.5346 | 5.3183
foundation_validation_ge15 | 100 | 1.5 | SitePreparationCost | Roads | Equipment rental | 4120.1384 | 412013.84 | 2.7468
foundation_validation_ge15 | 100 | 1.5 | SitePreparationCost | Roads | Labor | 6094.6313 | 609463.1297 | 4.0631
foundation_validation_ge15 | 100 | 1.5 | SitePreparationCost | Roads | Other | 13073.0076 | 1307300.76 | 8.7153
foundation_validation_ge15 | 100 | 1.5 | SitePreparationCost | Roads | Mobilization | 830.0935 | 83009.352 | 0.5534
foundation_validation_ge15 | 100 | 1.5 | SubstationCost | Substation | Other | 48591.8207 | 4859182.0721 | 32.3945
foundation_validation_ge15 | 100 | 1.5 | GridConnectionCost | Transmission and Distribution | Other | 40847.7515 | 4084775.1529 | 27.2318
foundation_validation_ge15 | 100 | 1.5 | CollectionCost | Collection | Equipment rental | 4266.1469 | 426614.6863 | 2.8441
foundation_validation_ge15 | 100 | 1.5 | CollectionCost | Collection | Labor | 14028.8803 | 1402888.0268 | 9.3526
foundation_validation_ge15 | 100 | 1.5 | CollectionCost | Collection | Materials | 28080.5514 | 2808055.1407 | 18.7204
foundation_validation_ge15 | 100 | 1.5 | CollectionCost | Collection | Mobilization | 2318.7789 | 231877.8927 | 1.5459
foundation_validation_ge15 | 100 | 1.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | DevelopmentCost | Development | Labor | 1500 | 150000 | 1
foundation_validation_ge15 | 100 | 1.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Equipment rental | 7489.1149 | 748911.4928 | 4.9927
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Fuel | 288.255 | 28825.5 | 0.19217
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Labor | 51346.538 | 5134653.8032 | 34.231
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Mobilization | 8993.1 | 899310 | 5.9954
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Other | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | insurance | 1910.4821 | 191048.2091 | 1.2737
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Construction Permitting | 4102.8138 | 410281.385 | 2.7352
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Project Management | 18877.6349 | 1887763.492 | 12.5851
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Bonding | 3411.5752 | 341157.5163 | 2.2744
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Markup Contingency | 44418.7086 | 4441870.8627 | 29.6125
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Engineering Foundation and Collections System (includes met mast) | 20713.25 | 2071325 | 13.8088
foundation_validation_ge15 | 100 | 1.5 | ManagementCost | Management | Site Facility | 13067.4835 | 1306748.35 | 8.7117
foundation_validation_clipper25 | 60 | 2.5 | FoundationCost | Foundation | Equipment rental | 4328.6396 | 259718.3748 | 1.7315
foundation_validation_clipper25 | 60 | 2.5 | FoundationCost | Foundation | Labor | 54153.0408 | 3249182.4453 | 21.6612
foundation_validation_clipper25 | 60 | 2.5 | FoundationCost | Foundation | Materials | 79189.457 | 4751367.4213 | 31.6758
foundation_validation_clipper25 | 60 | 2.5 | FoundationCost | Foundation | Mobilization | 13767.1137 | 826026.8241 | 5.5068
foundation_validation_clipper25 | 60 | 2.5 | SitePreparationCost | Roads | Materials | 9819.7013 | 589182.076 | 3.9279
foundation_validation_clipper25 | 60 | 2.5 | SitePreparationCost | Roads | Equipment rental | 5164.8187 | 309889.124 | 2.0659
foundation_validation_clipper25 | 60 | 2.5 | SitePreparationCost | Roads | Labor | 8636.3789 | 518182.7319 | 3.4546
foundation_validation_clipper25 | 60 | 2.5 | SitePreparationCost | Roads | Other | 15118.3488 | 907100.928 | 6.0473
foundation_validation_clipper25 | 60 | 2.5 | SitePreparationCost | Roads | Mobilization | 1028.527 | 61711.6215 | 0.41141
foundation_validation_clipper25 | 60 | 2.5 | SubstationCost | Substation | Other | 80986.3679 | 4859182.0721 | 32.3945
foundation_validation_clipper25 | 60 | 2.5 | GridConnectionCost | Transmission and Distribution | Other | 68079.5859 | 4084775.1529 | 27.2318
foundation_validation_clipper25 | 60 | 2.5 | CollectionCost | Collection | Equipment rental | 6185.4691 | 371128.1431 | 2.4742
foundation_validation_clipper25 | 60 | 2.5 | CollectionCost | Collection | Labor | 22167.9057 | 1330074.3444 | 8.8672
foundation_validation_clipper25 | 60 | 2.5 | CollectionCost | Collection | Materials | 42610.6303 | 2556637.8179 | 17.0443
foundation_validation_clipper25 | 60 | 2.5 | CollectionCost | Collection | Mobilization | 3548.2003 | 212892.0153 | 1.4193
foundation_validation_clipper25 | 60 | 2.5 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | DevelopmentCost | Development | Labor | 2500 | 150000 | 1
foundation_validation_clipper25 | 60 | 2.5 | DevelopmentCost | Development | Materials | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | DevelopmentCost | Development | Other | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Equipment rental | 9442.9462 | 566576.7718 | 3.7772
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Fuel | 304.5 | 18270 | 0.1218
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Labor | 54137.4651 | 3248247.9047 | 21.655
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Mobilization | 10195.5667 | 611734 | 4.0782
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Other | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | ErectionCost | Erection | Materials | 0 | 0 | 0
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | insurance | 2715.9001 | 162954.0067 | 1.0864
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Construction Permitting | 6362.0984 | 381725.9013 | 2.5448
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Project Management | 27236.2174 | 1634173.0426 | 10.8945
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Bonding | 4849.8216 | 290989.2977 | 1.9399
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Markup Contingency | 63144.6776 | 3788680.6559 | 25.2579
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Engineering Foundation and Collections System (includes met mast) | 29169.75 | 1750185 | 11.6679
foundation_validation_clipper25 | 60 | 2.5 | ManagementCost | Management | Site Facility | 18172.7134 | 1090362.802 | 7.2691
foundation_validation_iea36_85 | 28 | 3.6 | FoundationCost | Foundation | Equipment rental | 6896.7134 | 193107.975 | 1.9158
foundation_validation_iea36_85 | 28 | 3.6 | FoundationCost | Foundation | Labor | 92108.6201 | 2579041.3616 | 25.5857
foundation_validation_iea36_85 | 28 | 3.6 | FoundationCost | Foundation | Materials | 126939.8333 | 3554315.3328 | 35.2611
foundation_validation_iea36_85 | 28 | 3.6 | FoundationCost | Foundation | Mobilization | 22594.5167 | 632646.4669 | 6.2763
foundation_validation_iea36_85 | 28 | 3.6 | SitePreparationCost | Roads | Materials | 13626.4067 | 381539.3868 | 3.7851
foundation_validation_iea36_85 | 28 | 3.6 | SitePreparationCost | Roads | Equipment rental | 7323.5532 | 205059.49 | 2.0343
foundation_validation_iea36_85 | 28 | 3.6 | SitePreparationCost | Roads | Labor | 15153.5655 | 424299.8348 | 4.2093
foundation_validation_iea36_85 | 28 | 3.6 | SitePreparationCost | Roads | Other | 20695.0423 | 579461.184 | 5.7486
foundation_validation_iea36_85 | 28 | 3.6 | SitePreparationCost | Roads | Mobilization | 1508.002 | 42224.0552 | 0.41889
foundation_validation_iea36_85 | 28 | 3.6 | SubstationCost | Substation | Other | 152739.8921 | 4276716.9778 | 42.4277
foundation_validation_iea36_85 | 28 | 3.6 | GridConnectionCost | Transmission and Distribution | Other | 145884.8269 | 4084775.1529 | 40.5236
foundation_validation_iea36_85 | 28 | 3.6 | CollectionCost | Collection | Equipment rental | 8413.8973 | 235589.1249 | 2.3372
foundation_validation_iea36_85 | 28 | 3.6 | CollectionCost | Collection | Labor | 41150.3459 | 1152209.6864 | 11.4307
foundation_validation_iea36_85 | 28 | 3.6 | CollectionCost | Collection | Materials | 58053.68 | 1625503.0411 | 16.126
foundation_validation_iea36_85 | 28 | 3.6 | CollectionCost | Collection | Mobilization | 5380.8962 | 150665.0926 | 1.4947
foundation_validation_iea36_85 | 28 | 3.6 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | DevelopmentCost | Development | Labor | 5357.1429 | 150000 | 1.4881
foundation_validation_iea36_85 | 28 | 3.6 | DevelopmentCost | Development | Materials | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | DevelopmentCost | Development | Other | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Equipment rental | 8523.1961 | 238649.4903 | 2.3676
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Fuel | 345.375 | 9670.5 | 0.095937
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Labor | 73765.5374 | 2065435.0458 | 20.4904
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Mobilization | 19227.6429 | 538374 | 5.341
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Other | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | ErectionCost | Erection | Materials | 0 | 0 | 0
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | insurance | 4547.2666 | 127323.4659 | 1.2631
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Construction Permitting | 12113.6508 | 339182.2227 | 3.3649
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Project Management | 55117.7 | 1543295.5995 | 15.3105
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Bonding | 8120.119 | 227363.332 | 2.2556
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Markup Contingency | 105723.9494 | 2960270.5825 | 29.3678
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Engineering Foundation and Collections System (includes met mast) | 52491.1786 | 1469753 | 14.5809
foundation_validation_iea36_85 | 28 | 3.6 | ManagementCost | Management | Site Facility | 30052.9643 | 841483 | 8.348
foundation_validation_iea36_120 | 28 | 3.6 | FoundationCost | Foundation | Equipment rental | 10709.4251 | 299863.9041 | 2.9748
foundation_validation_iea36_120 | 28 | 3.6 | FoundationCost | Foundation | Labor | 131157.8842 | 3672420.7587 | 36.4327
foundation_validation_iea36_120 | 28 | 3.6 | FoundationCost | Foundation | Materials | 199084.4679 | 5574365.1 | 55.3012
foundation_validation_iea36_120 | 28 | 3.6 | FoundationCost | Foundation | Mobilization | 34095.1777 | 954664.9763 | 9.4709
foundation_validation_iea36_120 | 28 | 3.6 | SitePreparationCost | Roads | Materials | 13626.4067 | 381539.3868 | 3.7851
foundation_validation_iea36_120 | 28 | 3.6 | SitePreparationCost | Roads | Equipment rental | 7323.5532 | 205059.49 | 2.0343
foundation_validation_iea36_120 | 28 | 3.6 | SitePreparationCost | Roads | Labor | 15153.5655 | 424299.8348 | 4.2093
foundation_validation_iea36_120 | 28 | 3.6 | SitePreparationCost | Roads | Other | 20695.0423 | 579461.184 | 5.7486
foundation_validation_iea36_120 | 28 | 3.6 | SitePreparationCost | Roads | Mobilization | 1508.002 | 42224.0552 | 0.41889
foundation_validation_iea36_120 | 28 | 3.6 | SubstationCost | Substation | Other | 152739.8921 | 4276716.9778 | 42.4277
foundation_validation_iea36_120 | 28 | 3.6 | GridConnectionCost | Transmission and Distribution | Other | 145884.8269 | 4084775.1529 | 40.5236
foundation_validation_iea36_120 | 28 | 3.6 | CollectionCost | Collection | Equipment rental | 8413.8973 | 235589.1249 | 2.3372
foundation_validation_iea36_120 | 28 | 3.6 | CollectionCost | Collection | Labor | 41150.3459 | 1152209.6864 | 11.4307
foundation_validation_iea36_120 | 28 | 3.6 | CollectionCost | Collection | Materials | 58053.68 | 1625503.0411 | 16.126
foundation_validation_iea36_120 | 28 | 3.6 | CollectionCost | Collection | Mobilization | 5380.8962 | 150665.0926 | 1.4947
foundation_validation_iea36_120 | 28 | 3.6 | DevelopmentCost | Development | Equipment rental | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | DevelopmentCost | Development | Labor | 5357.1429 | 150000 | 1.4881
foundation_validation_iea36_120 | 28 | 3.6 | DevelopmentCost | Development | Materials | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | DevelopmentCost | Development | Mobilization | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | DevelopmentCost | Development | Other | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Equipment rental | 15939.7749 | 446313.6974 | 4.4277
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Fuel | 507.5893 | 14212.5 | 0.141
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Labor | 85921.1303 | 2405791.6491 | 23.867
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Mobilization | 32118.2143 | 899310 | 8.9217
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Other | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | ErectionCost | Erection | Materials | 0 | 0 | 0
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | insurance | 5438.4071 | 152275.3994 | 1.5107
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Construction Permitting | 14643.7962 | 410026.2948 | 4.0677
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Project Management | 55117.7 | 1543295.5995 | 15.3105
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Bonding | 9711.4413 | 271920.3561 | 2.6976
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Markup Contingency | 126442.9656 | 3540403.0367 | 35.123
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Engineering Foundation and Collections System (includes met mast) | 60048.3214 | 1681353 | 16.6801
foundation_validation_iea36_120 | 28 | 3.6 | ManagementCost | Management | Site Facility | 30052.9643 | 841483 | 8.348